## Slide 1
HVAC – 100P1
DX – System (Level 1)
(Direct Expansion) Practical

## Slide 2
Basic Refrigeration Cycle understanding
01
DX – System familiarization
02
Tool Identification and use
03
Process – Vacuum of system
05
Process – Charging of refrigerant
06
Process – Leak testing using nitrogen gas
07
Final Assessment
08
THE
AGENDA
Process – Recovery of refrigerant
04

## Slide 3
Introduction of participants and Trainer
Zakiuddin Soheel Mohammed
Trainer - L&D
Mohammed.Zakiuddin@enova-me.com
P.O. Box 22707; 2nd Floor City Centre Offices, Deira City Centre Complex, Dubai | United Arab Emirates www.enova-me.com

## Slide 4
Objective NO 1
To have a basic understanding of DX – sytem and have hands on exercise on different units
Objective NO 2
To have basic knowledge of HVAC tools and their useage
Objective NO 3
To perform the different process like refrigerant recovery, leak test, vacuum of system and charging of the refrigarant
Objectives

## Slide 5
1
Area of vapor
Area of liquid
High pressure
Low Pressure
compressor
condenser
evaporator
Expansion valve
TC

## Slide 8
Split Unit
Window AC
2
DX – System familiarization

## Slide 9
Package Unit
VRV / VRF System
2

## Slide 10
3
Tool Identification
Common tools for an AC – Technician
Tool Bag,
Variety of screwdrivers and nut-drivers,
Tubing cutters,
Crescent Wrenches & Allen Wrench Set,
Good pair of wire strippers & Hammer,
Multi – Meter,
Refrigeration gauges,
Infrared digital / digital thermometer
and magnetic tip tape measure.

## Slide 11
Infrared Temp Gun
Thermal Imager
Manifold Gauge
Digital Manifold Gauge
Dual port manometer
Multi Meter
Hygrometer
Temperature probe

## Slide 12
Sight Glass
Filter Drier
Oil Separator
Refrigerant cylinder
Capillary tube
Solenoid valve
Thermostatic expansion valve
Compressor
Evaporator
Condenser

## Slide 16
4
Refrigerant Recovery

## Slide 17
5

## Slide 19
Oxygen Free Dry Nitrogen (OFDN)

## Slide 20
6

## Slide 21
7

## Slide 22
Final Assessment – Practical
8
Charge the Refrigerant
Perform proper Vacuum of the system
Perform Recovery of refrigerant
Perform steps for leak test

## Slide 23
Final Assessment
8
To perform leak test we pressurize the system with
Hydrogen
Oxygen
Chlorine
Nitrogen
Why we do the vacuum
to recover the refrigerant
to remove moisture and air
to do leak test
to remove carbon
Color code of Hose used for low pressure side
.
Yellow
Green
Red
Blue
Performing recovery of refrigerant is unnecessary activity which need to be avoided
True
False

## Slide 24
Final Assessment
8
Name the following connection points
.
1.________________
2.________________
3.________________
6.________________

## Slide 25
Final Assessment
8
Name the Devices
.
1.________________
2.________________
3.________________
4.________________

## Slide 26
For more information:
www.enova-me.com
THANK YOU FOR YOUR ATTENTION